## Slide 1: DAR ES SALAAM INSTITUTE OF TECHNOLOGY
PROJECT TITLE:DETECTION OF OXYGEN PURITY LEVEL IN AN OXYGEN CONCETRATOR USING MACHINE LEARNING
MODULE:PROJECT CONCEPTUALIZATION
PROJECT TYPE: PROLEM SOLVING
CLASS :BENG22 ETE
NAME | REGISTRATION
SILVIA MARTINI | 220647497022

## Slide 2: BACKGROUND OF THE PROJECT
Medical oxygen systems are designed to deliver 90–95% oxygen purity for safe clinical use. However, purity can vary due to operational factors such as compressor performance, airflow rate, filter condition, and sieve bed aging, as well as environmental factors including temperature, humidity, altitude, and dust. These factors reduce air-separation efficiency and cause purity fluctuations. Conventional monitoring systems provide only instantaneous readings and lack early warning capability. Therefore, an intelligent machine learning–based monitoring approach is required to continuously estimate oxygen purity and detect deviations before they fall below safe clinical limits.

## Slide 3: PROBLEM STATEMENT
Existing medical oxygen monitoring systems rely mainly on direct sensing and provide only instantaneous readings. These systems do not continuously analyze key operational and environmental parameters such as pressure, flow rate, temperature, and humidity that influence oxygen purity. As a result, purity degradation may not be detected early, posing a risk to patient safety. Therefore, a data-driven, machine learning based monitoring system is required for continuous and accurate real-time oxygen purity estimation.

## Slide 4: MAIN OBJECTIVE
To develop an intelligent oxygen purity detection system for an oxygen concentrator

## Slide 5: SPECIFIC OBJECTIVES
To collect and preprocess sensor data on oxygen purity and related parameters for analysis.
To develop, train, and validate a machine learning model for oxygen purity detection
To design and implement the power supply unit for the system
To design and implement the control unit system
To integrate the sensing unit into the system
To implement real-time monitoring and alerting unit
To evaluate system performance and document the design, implementation, and results.

## Slide 6: LITERATURE REVIEW
S.No | Author(s) | Year | Technique Used | Strengths | Weakness / Limitation
1. | Shuzan et al. | 2023 | Gaussian Process Regression for estimating SpO₂ and respiration rate from PPG signals | Good accuracy with regression modeling; handles uncertainty well | Requires high-quality physiological signal data; not direct oxygen purity measurement
2. | Mahajan & Singh | 2021 | Random Forest Regression for dissolved oxygen prediction in water quality | Captures non-linear patterns; robust to noise | Focused on environmental dissolved oxygen, not specific to medical oxygen purity sensors
3. | Zhou et al. | 2022 | Support Vector Regression (SVR) for oxygen saturation prediction from wearable sensors | Works well with small datasets; good generalization | Computational complexity high; limited direct application to gas purity in supply
4. | Li & Chen | 2023 | Artificial Neural Network (ANN) regression for gas concentration prediction | Models complex non-linear relationships | Needs large training datasets; risk of overfitting

## Slide 7
5. | Nguyen et al. | 2024 | IoT + Regression Ensemble for air quality | Real-time & scalable | Depends on sensors
6. | Kim et al. | 2024 | Neural Network + Regression for PaO₂ prediction | Strong performance | Clinical context
7. | Patel & Kaur | 2025 | Gradient Boosting Regression for multi-gas estimates | High accuracy | Tuning complexity
8. | Rao & Mishra | 2025 | Ensemble Regression (RF + SVR) for gas purity | Robust combination | Data requirement
9. | Hassan et al. | 2021 | ANN + LR for oxygen saturation estimation | Good non-linear mapping | Overfitting risk

## Slide 8
10. | Roberts & King | 2021 | Ridge Regression for sensor data calibration | Reduces overfitting | Limited non-linear
11. | Zhang et al. | 2022 | Lasso Regression for gas sensor feature selection | Performs variable selection | May ignore weak predictors
12. | Das & Dutta | 2022 | KNN Regression for dissolved oxygen | Simple, instance-based | Slow on big data
13. | El-Sayed et al. | 2023 | Bayesian Regression for O₂ prediction | Probabilistic output | Harder interpretation
14. | Wang & Liu | 2023 | Decision Tree Regression for oxygen prediction | Interpretable splits | Prone to overfit

## Slide 9
15. | Silva et al. | 2024 | Deep Learning Regression for sensor fusion | Highly accurate | Computation cost
16. | Patel & Mehta | 2024 | Adaptive Boosting Regression for O₂ estimates | Good generalization | Sensitive to noise
17. | Choi & Park | 2025 | Recurrent Neural Regression for time series O₂ | Good temporal modeling | modeling
18. | Gupta et al. | 2025 | Extreme Gradient Boosting for sensor prediction | Fast & accurate | Needs careful parameter tuning
19. | Ahmed & Islam | 2024 | Fuzzy Regression for uncertain sensor data | Handles uncertain data | Complexity

## Slide 10
20. | Marin et al. | 2023 | PCA + Regression for reduced feature gas models | Reduces dimension | PCA may lose info

## Slide 11: LITERATURE REVIEW Existing Work
Machine learning regression techniques are used to predict oxygen-related parameters.
Common models include Linear Regression, Support vector machine, Random Forest and Ensemble methods.
Sensor-based and IoT systems are widely used for oxygen monitoring.
Regression models show good accuracy with proper feature selection.

## Slide 12: LITERATURE REVIEW Limitations of Existing Work
Most studies focus on oxygen saturation or dissolved oxygen, not medical oxygen purity.
Sensor noise and calibration errors affect accuracy.
Complex models require large datasets and high computational power.
Real-time deployment and system reliability are challenging.

## Slide 13: LITERATURE REVIEW Research Gap
Limited research on Machine Learning –based on oxygen purity detection in medical supply systems.
Lack of low-cost and real-time regression-based solutions. Example expensive analyzers or manual testing
Need for accurate, simple, and reliable oxygen purity monitoring.
Opportunity to develop a regression model tailored for medical oxygen purity detection.